## Slide 1: ACLAD Operations Status
12 April 2022

## Slide 2
ACLAD Summary Report April 12, 2022
Chart: 
| 44571 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44621 | 44628 | 44635 | 44642 | 44649 | 44656 | 44663
Narcissa/Gingerroot 1 | 20863.0714 | 21829.5714 | 13171.4286 | 7020 | 17153.3333 | 6381.4286 | 0 | 20680 | 17455.6522 | 17178.5714 | 19208.5714 | 18492.8571 | 17631.4286 | 17214.2857
lower Narcissa 2 | 5108.5714 | 5004.2857 | 5014.2857 | 4977.1429 | 5526.6667 | 5100 | 5948.5714 | 2051.4286 | 4944.2857 | 4351.4286 | 4140 | 3998.5714 | 4207.1429 | 4230
Beanfield 11 | 11344.7143 | 11402.5714 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 9065.7391 | 11665.4286 | 11014 | 11916.8571 | 0 | 23839.8571 | 11733.2857
upper Gingerroot 12 | 17531.4286 | 17685.7143 | 16897.8571 | 14955.7143 | 20133.3333 | 16454.2857 | 15795.7143 | 17100.8696 | 17227.1429 | 16504.2857 | 17342.8571 | 17265.7143 | 17342.8571 | 17018.5714
King/Sweetbay 13 | 9997.1429 | 10087.1429 | 9845 | 7271.25 | 12960 | 9712.8571 | 10105.7143 | 3455.6522 | -5872.8571 | 0 | 0 | 11943.2857 | 2888.1429 | 9184.4286
Narcissa/Vanderlip 15 | 1779.5714 | 1750.1429 | 1786.1429 | 3206 | 15472.3333 | 13292 | 0 | 12623.6522 | 21339.7143 | 9467.1429 | 14610.5714 | 7789 | 11133.8571 | 11659.8571
Petak/Sweetbay 16 | 6590 | 7081.4286 | 9236.4286 | 9235 | 8160 | 12240 | 5170 | 8450.4348 | 8801.4286 | 9518.5714 | 11954.2857 | 9125.7143 | 8264.2857 | 13804.2857
Thyme 17 | 1267.8571 | 1001.4286 | 952.8571 | 941.25 | 911.6667 | 905.7143 | 990 | 944.3478 | 868.5714 | 857.1429 | 851.4286 | 844.2857 | 857.1429 | 848.5714
End of Narcissa 19 | 2570.7143 | 2144.2857 | 2108.5714 | 1638.5714 | 1900 | 1427.1429 | 1317.1429 | 1109.5652 | 794.2857 | 580 | 157.1429 | 0 | 0 | -1.4286
Sweetbay Yamaguchi | 3961.4286 | 3825.7143 | 3851.4286 | 3818.75 | 3618.3333 | 3700 | 3582.8571 | 4266.087 | 3494.2857 | 3377.1429 | 3431.4286 | 3452.8571 | 3372.8571 | 11984.2857
Lower Figtree 3 | 9602.1429 | 10057.1429 | 8330.7143 | 7102.8571 | 7851.6667 | 5637.1429 | 5240 | 3880 | 3845.7143 | 1562.8571 | 0 | 0 | 4302.8571 | 3798.5714
Mid Sweetbay 8 | -1 | 0 | 2090 | 5720 | 1401.6667 | 1390 | 1397.1429 | 693.913 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 3: ACLAD STATUS
CURRENTLY PUMPING 85,692 GALLONS PER DAY
Well #15 pump using timer to regulate on-times
Well #13 Pump Replaced
  Control Box wiring upgraded
  Failed Control Box Switch removed. Using circuit breaker for on/off switch
Inspected abandoned Well #6
  Water at 87’
  Casing looks good, planning to install pump to assess well output
ACLAD Near-term Plan
  Schedule well drill for #4 (lower Figtree)
    Investigating multiple well drilling costs
  Check out pump in well #2 (lower Narcissa), gradually decreasing output

## Slide 4: System Output Meter
Leak repaired in output pipe on South side of PVDS
  Appears to have been caused by land movement and lack of service loop
System output meter installed in lower leg of service loop
Recent data tracks the sum of well meters
Your Local Well
Technician

## Slide 5: Weekly Well Monitoring (gallons per day)
1-Mar | 20,680 | 2,051 | 9,066 | 17,101 | 3,456 | 12,624
8-Mar | 17,456 | 4,944 | 11,665 | 17,227 | -5,873 | 21,340
15-Mar | 17,179 | 4,351 | 11,014 | 16,504 | 0 | 9,467
22-Mar | 19,209 | 4,140 | 11,917 | 17,343 | 0 | 14,611
29-Mar | 18,493 | 3,999 | 0 | 17,266 | 11,943 | 7,789
5-Apr | 17,631 | 4,207 | 23,840 | 17,343 | 2,888 | 11,134
12-Apr | 17,214 | 4,230 | 11,733 | 17,019 | 9,184 | 11,660
 | Narcissa/Gingerroot | lower Narcissa | Beanfield | upper Gingerroot | King/Sweetbay | Narcissa/Vanderlip
 | 1 | 2 | 11 | 12 | 13 | 15
Petak/Sweetbay | Thyme | End of Narcissa | Sweetbay | Lower Figtree | Mid Sweetbay | Total GPD | PVDS Meter
16 | 17 | 19 | Yamaguchi | 3 | 8 |  | 
8,801 | 869 | 794 | 3,494 | 3,846 | 0 | 84,564 | 0
9,519 | 857 | 580 | 3,377 | 1,563 | 0 | 74,411 | 64,275
11,954 | 851 | 157 | 3,431 | 0 | Well off | 83,613 | 76,871
9,126 | 844 | 0 | 3,453 | 0 | 0 | 72,912 | 79,686
8,264 | 857 | 0 | 3,373 | 4,303 | 0 | 86,165 | 77,743
13,804 | 849 | -1 | 11,984 | 3,799 | 0 | 85,692 | 81,757
8-Mar
15-Mar
22-Mar
29-Mar
5-Apr
12-Apr
19-Apr