## Slide 1: WELL STATUS June 12, 2023
CURRENTLY PUMPING 113,000 GALLONS PER DAY
Repaired 6” system drain line in Gate Park
  Line placed above ground
  Ordered 6” unions for land movement
PVDS System Bipass, Y Filter, Meter assembled
Repaired and moved 2” drainlines for wells 1 and 7 outside building setbacks
  Dimensioned for inclusion in drainage map
Planned
  Replace pump in well #3 (Figtree)
  Replace pump in well #4 (Clovetree)
  Add meter to well #6 (Covetree)
  Install System bypass
  Apply for Permit for electrical on Well # 10

## Slide 2
Chart: 
| 44446 | 44453 | 44460 | 44466 | 44474 | 44481 | 44488 | 44495 | 44502 | 44509 | 44516 | 44523 | 44530 | 44537 | 44544 | 44551 | 44565 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44621 | 44628 | 44635 | 44642 | 44649 | 44656 | 44663 | 44670 | 44677 | 44684 | 44691 | 44698 | 44705 | 44712 | 44719 | 44726 | 44733 | 44740 | 44747 | 44754 | 44761 | 44768 | 44775 | 44782 | 44789 | 44796 | 44803 | 44810 | 44817 | 44824 | 44831 | 44838 | 44845 | 44852 | 44859 | 44866 | 44873 | 44880 | 44887 | 44894 | 44901 | 44908 | 44915 | 44922 | 44929 | 44937 | 44944 | 44950 | 44957 | 44964 | 44971 | 44978 | 44985 | 44992 | 45001 | 45007 | 45013 | 45020 | 45027 | 45034 | 45041 | 45048 | 45055 | 45062 | 45069 | 45076 | 45083
Narcissa/Gingerroot 1 | 0 | 15901.4286 | 48685.7143 | 13808.5714 | 520 | 0
Mid Sweetbay 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 1036.6667 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 570 | 0 | 0 | 0 | 0 | 7600 | 8881.4286 | 577.1429 | 4485.7143 | 4471.4286 | 4252.8571 | 1427.1429 | 467.1429 | 468.5714 | 1235.7143 | 1540 | 1290 | 2117.1429 | 897.1429 | 1457.1429 | 1440 | 1230 | 327.1429 | 590 | 18.5714 | 274.2857 | 422.8571 | 371.4286
Beanfield 11
upper Gingerroot 12 | 9169 | 11000 | 11466.5714 | 11426.8333 | 11409.875 | 11366.7143 | 11366.1429 | 11200.1429 | 11494.7143 | 11323.1429 | 11279.1429 | 11233.7143 | 11225.8571 | 11796.5714 | 10926.2857 | 11002.2857 | 11344.7143 | 11402.5714 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 11022.9048 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 7446.8571 | 11665.4286 | 11014 | 11916.8571 | 0 | 23839.8571 | 11733.2857 | 11093.1429 | 11144.8571 | 11433.2857 | 15164.8571 | 3827.2857 | 11194.2857 | 11221.2857 | 6348.4286 | 14375.4286 | 10792 | 3328.5714 | 16237.1429 | 9626.4286 | 9507.8571 | 9434.8571 | 6279.4286 | 12863.4286 | 5708 | 8557.1429 | 3942.8571 | 13043.1429
King/Sweetbay 13 | 11301.4286 | 10917.1429 | 10987.1429 | 16585.7143 | 5221.4286 | 10864.2857 | 9457.1429 | 12191.4286 | 9907.1429 | 10275.7143 | 12160 | 10778.5714 | 10742.8571 | 10670 | 10645.7143