## Slide 1: WELL STATUS Nov 8, 2022
CURRENTLY PUMPING 83,600 GALLONS PER DAY
Well # 6 (Clovetree)
  SCE says they will install meter tomorrow
Well #13 (King/Sweetbay)
  Replaced pump and 30A breaker
Purchase 5KW Honda Generator
ACLAD Near-term Plan
  Clean debris from PVDS system meter
  Get Bids for 1-3 Wells

## Slide 2
ACLAD Summary Report Sept 13, 2022
Chart: 
| 44594 | 44600 | 44607 | 44614 | 44572 | 44586 | 44594 | 44600 | 44607 | 44614 | 44621 | 44628 | 44635 | 44642 | 44649 | 44656 | 44663 | 44670 | 44677 | 44684 | 44691 | 44698 | 44705 | 44712 | 44719 | 44726 | 44733 | 44740 | 44747 | 44754 | 44761 | 44768 | 44775 | 44782 | 44789 | 44796 | 44803 | 44810 | 44817 | 44824 | 44831 | 44838 | 44845 | 44852 | 44859 | 44866 | 44873
Well #1 | 4355 | 5526.6667 | 5100 | 5948.5714 | 5131.9048 | 5014.2857 | 4355 | 5526.6667 | 5100 | 5948.5714 | 2051.4286 | 4944.2857 | 4351.4286 | 4140 | 3998.5714 | 4207.1429 | 4230 | 4600 | 4925.7143 | 5088.5714 | 5807.1429 | 5622.8571 | 5520 | 5200 | 3604.2857 | 6782.8571 | 5051.4286 | 5032.8571 | 5172.8571 | 4982.8571 | 4785.7143 | 798.5714 | 0 | 0 | 0 | 0 | 8484.2857 | 0.28571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well #2 | 6215 | 7851.6667 | 5637.1429 | 5240 | 6895.2381 | 8330.7143 | 6215 | 7851.6667 | 5637.1429 | 5240 | 3187.1429 | 3845.7143 | 1562.8571 | 0 | 0 | 4302.8571 | 3798.5714 | 1677.1429 | 4504.2857 | 3108.5714 | 2595.7143 | 1440 | 302.8571 | 524.2857 | 0 | 0 | 0 | 0 | 25302.8571 | 12975.7143 | 17365.7143 | 15490.8571 | 13510.5714 | 13934.2857 | 2825.7143 | 9047.1429 | 7562.8571 | 5540 | 4968.5714 | 4670 | 4215.5714 | 2914.4286 | 2710.8571 | 2780.5714 | 808.5714 | 1681.4286 | 1582.8571
Well #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3881.5714 | 3685.1429 | 3147.5714 | 14360.8571 | 14190.8571 | 28014.2857 | 16123.4286 | 17779.1429 | 9564.1429 | 9314.7143 | 5501 | 5817.5714 | 5259.4286 | 4767 | 4767 | 4767 | 4484.4286 | 4511.8571 | 4257.7143
Well #4 | 1430 | 1401.6667 | 1390 | 1397.1429 | 1036.6667 | 298.5714 | 1430 | 1401.6667 | 1390 | 1397.1429 | 570 | 0 | 0 | 0 | 0 | 7600 | 8881.4286 | 577.1429 | 4485.7143 | 4471.4286 | 4252.8571 | 1427.1429 | 467.1429 | 468.5714 | 1235.7143 | 1540 | 1290 | 2117.1429 | 897.1429 | 1457.1429 | 1440 | 1230 | 327.1429 | 590 | 18.5714 | 274.2857 | 422.8571 | 371.4286 | 350 | 407.1429 | 401.4286 | 434.2857 | 177.5714 | 1562.4286 | 491.4286 | 797.1429 | 775.7143
Well #8
Well #11 | 10955 | 10805 | 10871.5714 | 11198.7143 | 11022.9048 | 11142.8571 | 10955 | 10805 | 10871.5714 | 11198.7143 | 9065.7391 | 11665.4286 | 11014 | 11916.8571 | 0 | 23839.8571 | 11733.2857 | 11093.1429 | 11144.8571 | 11433.2857 | 15164.8571 | 3827.2857 | 11194.2857 | 11221.2857 | 6348.4286 | 14375.4286 | 10792 | 3328.5714 | 16237.1429 | 9626.4286 | 9507.8571 | 9434.8571 | 6279.4286 | 12863.4286 | 5708 | 8557.1429 | 3942.8571 | 13043.1429 | 20314.4286 | 4515.4286 | 17627 | 6436.5714 | 5795.4286 | 14494.1429 | 7143.8571 | 12338.7143 | 10253.1429
Well #12 | 13086.25 | 20133.3333 | 16454.2857 | 15795.7143 | 16376.4286 | 16897.8571 | 13086.25 | 20133.3333 | 16454.2857 | 15795.7143 | 17100.8696 | 17227.1429 | 16504.2857 | 17342.8571 | 17265.7143 | 17342.8571 | 17018.5714 | 13750 | 0 | 12902.8571 | 29344.2857 | 27571.4286 | 29075.7143 | 24934.2857 | 25632.8571 | 26041.4286 | 23461.4286 | 21912.8571 | 20687.1429 | 19594.2857 | 19290 | 19357.1429 | 19531.4286 | 19360 | 19340 | 19187.1429 | 19341.4286 | 18978.5714 | 18292.8571 | 2625.7143 | 0 | 13455.7143 | 1742.8571 | 18000 | 18598.5714 | 18168.5714 | 17432.8571
Well #13 | 7271.25 | 12960 | 9712.8571 | 10105.7143 | 9821.1905 | 9845 | 7271.25 | 12960 | 9712.8571 | 10105.7143 | 3455.6522 | -5872.8571 | 0 | 0 | 11943.2857 | 2888.1429 | 9184.4286 | 14065.1429 | 14014.1429 | 14206.4286 | 13698.4286 | 13675.2857 | 13610 | 13589.7143 | 13212.1429 | 13770.1429 | 13373.4286 | 13422.8571 | 13753 | 13195.1429 | 13093.8571 | 12975.5714 | 13487.5714 | 13438.5714 | 13490.5714 | 13436.4286 | 13438.7143 | 13174.7143 | 11885.5714 | 14376.1429 | 13578.2857 | 13348 | 13624.4286 | 4228 | 0 | 0 | 10067.5
Well #15 | 2404.5 | 15472.3333 | 13292 | 0 | 5479.0476 | 1786.1429 | 2404.5 | 15472.3333 | 13292 | 0 | 12623.6522 | 21339.7143 | 9467.1429 | 14610.5714 | 7789 | 11133.8571 | 11659.8571 | 11625.8571 | 11659.5714 | 6035 | 951.4286 | 5.1429 | -5.1429 | 7885.1429 | 8500 | 8581.5714 | 8101 | 8134.4286 | 8300.2857 | 8093 | 8280.1429 | 7052.5714 | 0 | 0 | 1092.1429 | 2026 | 14869.2857 | 8160.4286 | 7903.5714 | 8095.1429 | 8300.8571 | 8108.1429 | 8054.4286 | 7876.7143 | 8047.5714 | 8073.4286 | 8055.5714
Well #16 | 9235 | 8160 | 12240 | 5170 | 8905.2381 | 9236.4286 | 9235 | 8160 | 12240 | 5170 | 8450.4348 | 8801.4286 | 9518.5714 | 11954.2857 | 9125.7143 | 8264.2857 | 13804.2857 | 7061.4286 | 9941.4286 | 11528.5714 | 10561.4286 | 9595.7143 | 4777.1429 | 7344.2857 | 14935.7143 | 17581.4286 | 2347.1429 | 30008.5714 | 17138.5714 | 16601.4286 | 3122.8571 | -14.2857 | 0 | 0 | 16271.4286 | 26520 | 21792.8571 | 5877.1429 | 22558.5714 | 23425.7143 | 24275.7143 | 20134.2857 | 27425.4286 | 13043.1429 | 20281.4286 | 11782.8571 | 18527.1429
Well #17 | 941.25 | 911.6667 | 905.7143 | 990 | 943.0952 | 952.8571 | 941.25 | 911.6667 | 905.7143 | 990 | 944.3478 | 868.5714 | 857.1429 | 851.4286 | 844.2857 | 857.1429 | 848.5714 | 842.8571 | 835.7143 | 858.5714 | -152.8571 | 400 | 2191.4286 | 802.8571 | 3454.2857 | -1855.7143 | 784.2857 | 768.5714 | 937.1429 | 624.2857 | 451.8571 | 1066.7143 | 751.4286 | 744.2857 | 4881.4286 | 855.8571 | 700 | 767.1429 | 704.2857 | 722.8571 | 731.4286 | 704.2857 | 731.7143 | 763.7143 | 842.5714 | 426.2857 | 672.8571
Well #19 | 1433.75 | 1900 | 1427.1429 | 1317.1429 | 1704.7619 | 2108.5714 | 1433.75 | 1900 | 1427.1429 | 1317.1429 | 1109.5652 | 794.2857 | 580 | 157.1429 | 0 | 0 | -1.4286 | 1238.5714 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12055.5 | 6215.2857 | 0 | 1857.5714 | 0 | 1410.8571 | 1424.1429 | 1697.5714 | 1546.4286 | 1616.5714 | 1454.4286 | 1565.5714 | 1466.4286 | 1506.2857 | 1551.2857 | 1482.2857 | 1124.1429 | 1833.5714 | 1486 | 1509.1429 | 1437.8571